{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":6,"n_cols":3,"rows_kept":6,"merged":[[0,0,0,2]],"flags":["formulas_cached_only"]}
["云南保山电力股份有限公司施甸分公司2024年二季度电压合格率和供电可靠性完成情况表"]
["序号","指标名称","2024年二季度指标完成情况"]
[1,"城市地区供电可靠率（%）",{"v":99.9911,"d":"99.99"}]
[2,"农村地区供电可靠率（%）",{"v":99.8378,"d":"99.84"}]
[3,"城市地区居民客户端电压合格率（%）",{"v":100,"d":"100.00"}]
[4,"农村地区居民客户端电压合格率（%）",{"v":99.8986,"d":"99.90"}]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}