{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":3,"n_cols":8,"rows_kept":3,"merged":[[0,0,0,7]]}
["保山电力腾冲分公司2025年三季度配电网容量受限公示表"]
["序号","设备名称（准确、完整描述配变名称）","电压等级(kV)","平均负载率（%）","最大负载率（%）","影响区域","治理措施","计划完成治理的时间"]
[1,"HS-大庄村-上庄2#号台变","10kV",91.94,114.48,"和顺上庄2#变供电区域","调整供电方案","立即整改"]